## 1st QRTR 05
GROUP WATER SCHEMES SERVICE INDICATORS 2ND QUARTER (APR - JUNE INCL) 2007
SCHEME | NO OF TESTS | NUMBER OF COMPLIANT RESULTS | NUMBER NON COMPLIANT RESULTS | %AGE COMP RESULTS | %AGE NON COMP RESULTS | Reason
ARDAGHY | 1 | 0 | 1 | 0 | 100 | Ongoing problems regarding disinfection with this scheme despite upgrading works having being carried out. LCC propose to meet group within next few weeks to discuss proposals for future of scheme
BALLYMAKENNY | 1 | 1 | 0 | 100 | 0
DRYBRIDGE/WATERUNDER | 1 | 1 | 0 | 100 | 0
GRANGEBELLEW | 1 | 1 | 0 | 100 | 0
MOUNTAIN PARK | 1 | 1 | 0 | 100 | 0
REAGHSTOWN/KILLANY | 1 | 1 | 0 | 100 | 0
SHEEPGRANGE | 1 | 1 | 0 | 100 | 0
TENURE | 1 | 0 | 1 | 0 | 100 | Analysis of water samples taken over the past few months on this scheme have shown the presence of total and faecal coliforms. 'Notice to Boil' in place. Group were requested on 17/05/07 to carry out full assessment of the scheme and to prepare an Action Plan setting out proposals to address any identified deficiencies. The Action Plan was to be submitted to LCC within 60 days which has now been extended a further 21 days from 25th July, 2007. LCC has also offered the group a connection from the adjacent pubic mains until the problem has been sorted.
TULLYALLEN | 1 | 1 | 0 | 100 | 0
TOTAL | 9 | 7 | 2 | 77.7778 | 22.2222
-