## 1ST QRTR
PUBLIC WATER SUPPLY SERVICE INDICATORS 1ST QUARTER (JAN - MAR INCL) 2007
SCHEME | NO OF TESTS | NUMBER OF COMPLIANT RESULTS | NO OF NON COMPLIANT RESULTS | %AGE OF RESULTS COMPLIANT | %AGE OF RESULTS NON COMPLIANT | REASON
ARDEE | 3 | 3 | 0 | 100 | 0
GREENMOUNT | 3 | 3 | 0 | 100 | 0
TALLANSTOWN | 1 | 1 | 0 | 100 | 0
CARLINGFORD | 2 | 2 | 0 | 100 | 0
GREENORE | 1 | 1 | 0 | 100 | 0
DRYBRIDGE | 1 | 1 | 0 | 100 | 0
C'HEAD/T'FECKIN | 3 | 3 | 0 | 100 | 0
COLLON | 3 | 3 | 0 | 100 | 0
COOLEY | 3 | 3 | 0 | 100 | 0
DUNBIN | 1 | 1 | 0 | 100 | 0
OMEATH | 2 | 2 | 0 | 100 | 0
DROGHEDA | 12 | 11 | 1 | 92 | 8 | Failure on sample taken on 22/01/07 at Wheaten Hall. Re-tested on 25/01/07 and results were clear.
DUNDALK | 18 | 18 | 0 | 100 | 0
TOTAL | 53 | 52 | 1 | 98 | 2